## Primary Gas Instruments
Title | Description | Type | Type (vlookup) | Make | Model | SerialNo | Tag | NotNo | NotOutputId | MeasuredUnits | MeasuredUnits (vlookup) | MeasuredUnits2 | MeasuredUnits2 (vlookup) | WorkingLimitMin | WorkingLimitMax | SignalType | SignalType (Vlookup) | FlowDeviceType | FlowDeviceType(vlookup) | DefaultNominalKFactor | DefaultPipeDiameter | DefaultMeterDiameter | ThermalExpansionPipe | ThermalExpansionPlate | DefaultOrientation | FlowCategory | FlowCategory (Vlookup) | Facility | IsCalibrationScheduled | SchedulingOwner | CalibrationDefaultReviewer | CalibrationStatus | CalibrationDueReminderDays | QualityGrade | QualityGrade (vlookup) | ModulusOfElasticity | ThermalExpansionShell | ThermalExpansionDetectorShaft | BaseTemperature | BasePressure | WallThickness | FirmwareVersion | LocationId
4in USM ActualStatus | 4in USM ActualStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM GlobalStatus | 4in USM GlobalStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SummaryStatus | 4in USM SummaryStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM Flowrate | 4in USM Flowrate | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 24 | Meter3 | 7 | Hour |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SpeedOfSound | 4in USM SpeedOfSound | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VelocityOfGas | 4in USM VelocityOfGas | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM Impulse_Factor | 4in USM Impulse_Factor | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 3 | Hertz |  | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM Impulse_Frequency | 4in USM Impulse_Frequency | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 3 | Hertz |  | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AdjustQt | 4in USM AdjustQt | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 24 | Meter3 | 7 | Hour |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 1-1 | 4in USM SOS 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 1-2 | 4in USM SOS 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 1-3 | 4in USM SOS 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 1-4 | 4in USM SOS 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 2-1 | 4in USM SOS 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 2-2 | 4in USM SOS 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 2-3 | 4in USM SOS 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SOS 2-4 | 4in USM SOS 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 1-1 | 4in USM VOG 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 1-2 | 4in USM VOG 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 1-3 | 4in USM VOG 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 1-4 | 4in USM VOG 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 2-1 | 4in USM VOG 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 2-2 | 4in USM VOG 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 2-3 | 4in USM VOG 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM VOG 2-4 | 4in USM VOG 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 1-1 | 4in USM AcceptanceRate 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 1-2 | 4in USM AcceptanceRate 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 1-3 | 4in USM AcceptanceRate 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 1-4 | 4in USM AcceptanceRate 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 2-1 | 4in USM AcceptanceRate 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 2-2 | 4in USM AcceptanceRate 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 2-3 | 4in USM AcceptanceRate 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AcceptanceRate 2-4 | 4in USM AcceptanceRate 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-1 AB | 4in USM AGC 1-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-1 BA | 4in USM AGC 1-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-2 AB | 4in USM AGC 1-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-2 BA | 4in USM AGC 1-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-3 AB | 4in USM AGC 1-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-3 BA | 4in USM AGC 1-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-4 AB | 4in USM AGC 1-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 1-4 BA | 4in USM AGC 1-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-1 AB | 4in USM AGC 2-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-1 BA | 4in USM AGC 2-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-2 AB | 4in USM AGC 2-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-2 BA | 4in USM AGC 2-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-3 AB | 4in USM AGC 2-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-3 BA | 4in USM AGC 2-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-4 AB | 4in USM AGC 2-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM AGC 2-4 BA | 4in USM AGC 2-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 1-1 | 4in USM PathStatus 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 1-2 | 4in USM PathStatus 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 1-3 | 4in USM PathStatus 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 1-4 | 4in USM PathStatus 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 2-1 | 4in USM PathStatus 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 2-2 | 4in USM PathStatus 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 2-3 | 4in USM PathStatus 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM PathStatus 2-4 | 4in USM PathStatus 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-1 AB | 4in USM SNR 1-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-1 BA | 4in USM SNR 1-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-2 AB | 4in USM SNR 1-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-2 BA | 4in USM SNR 1-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-3 AB | 4in USM SNR 1-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-3 BA | 4in USM SNR 1-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-4 AB | 4in USM SNR 1-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 1-4 BA | 4in USM SNR 1-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-1 AB | 4in USM SNR 2-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-1 BA | 4in USM SNR 2-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-2 AB | 4in USM SNR 2-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-2 BA | 4in USM SNR 2-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-3 AB | 4in USM SNR 2-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-3 BA | 4in USM SNR 2-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-4 AB | 4in USM SNR 2-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
4in USM SNR 2-4 BA | 4in USM SNR 2-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM ActualStatus | 8in USM ActualStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM GlobalStatus | 8in USM GlobalStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SummaryStatus | 8in USM SummaryStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM Flowrate | 8in USM Flowrate | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 24 | Meter3 | 7 | Hour |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SpeedOfSound | 8in USM SpeedOfSound | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VelocityOfGas | 8in USM VelocityOfGas | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM Impulse_Factor | 8in USM Impulse_Factor | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 3 | Hertz |  | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM Impulse_Frequency | 8in USM Impulse_Frequency | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 3 | Hertz |  | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AdjustQt | 8in USM AdjustQt | 17 | General | SICK | FLOWSIC600-XT |  | C-FT002 |  |  | 24 | Meter3 | 7 | Hour |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 1-1 | 8in USM SOS 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 1-2 | 8in USM SOS 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 1-3 | 8in USM SOS 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 1-4 | 8in USM SOS 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 2-1 | 8in USM SOS 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 2-2 | 8in USM SOS 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 2-3 | 8in USM SOS 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SOS 2-4 | 8in USM SOS 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 1-1 | 8in USM VOG 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 1-2 | 8in USM VOG 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 1-3 | 8in USM VOG 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 1-4 | 8in USM VOG 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 2-1 | 8in USM VOG 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 2-2 | 8in USM VOG 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 2-3 | 8in USM VOG 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM VOG 2-4 | 8in USM VOG 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 14 | Meter | 5 | Second |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 1-1 | 8in USM AcceptanceRate 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 1-2 | 8in USM AcceptanceRate 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 1-3 | 8in USM AcceptanceRate 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 1-4 | 8in USM AcceptanceRate 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 2-1 | 8in USM AcceptanceRate 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 2-2 | 8in USM AcceptanceRate 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 2-3 | 8in USM AcceptanceRate 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AcceptanceRate 2-4 | 8in USM AcceptanceRate 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 1 | Percent | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-1 AB | 8in USM AGC 1-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-1 BA | 8in USM AGC 1-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-2 AB | 8in USM AGC 1-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-2 BA | 8in USM AGC 1-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-3 AB | 8in USM AGC 1-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-3 BA | 8in USM AGC 1-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-4 AB | 8in USM AGC 1-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 1-4 BA | 8in USM AGC 1-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-1 AB | 8in USM AGC 2-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-1 BA | 8in USM AGC 2-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-2 AB | 8in USM AGC 2-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-2 BA | 8in USM AGC 2-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-3 AB | 8in USM AGC 2-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-3 BA | 8in USM AGC 2-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-4 AB | 8in USM AGC 2-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM AGC 2-4 BA | 8in USM AGC 2-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 1-1 | 8in USM PathStatus 1-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 1-2 | 8in USM PathStatus 1-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 1-3 | 8in USM PathStatus 1-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 1-4 | 8in USM PathStatus 1-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 2-1 | 8in USM PathStatus 2-1 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 2-2 | 8in USM PathStatus 2-2 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 2-3 | 8in USM PathStatus 2-3 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM PathStatus 2-4 | 8in USM PathStatus 2-4 | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-1 AB | 8in USM SNR 1-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-1 BA | 8in USM SNR 1-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-2 AB | 8in USM SNR 1-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-2 BA | 8in USM SNR 1-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-3 AB | 8in USM SNR 1-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-3 BA | 8in USM SNR 1-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-4 AB | 8in USM SNR 1-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 1-4 BA | 8in USM SNR 1-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-1 AB | 8in USM SNR 2-1 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-1 BA | 8in USM SNR 2-1 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-2 AB | 8in USM SNR 2-2 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-2 BA | 8in USM SNR 2-2 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-3 AB | 8in USM SNR 2-3 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-3 BA | 8in USM SNR 2-3 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-4 AB | 8in USM SNR 2-4 AB | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SNR 2-4 BA | 8in USM SNR 2-4 BA | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM ActualStatus | 8in USM ActualStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM GlobalStatus | 8in USM GlobalStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly
8in USM SummaryStatus | 8in USM SummaryStatus | 17 | General | SICK | FLOWSIC600-XT |  | C-FT001 |  |  | 0 | NotSet | 0 | NotSet |  |  | 4 | Other | [16 empty] | 2 | IndicationOnly

## Sheet1
SpeedOfSound
VelocityOfGas
SOS 1-1
SOS 1-2
SOS 1-3
SOS 1-4
SOS 2-1
SOS 2-2
SOS 2-3
SOS 2-4
VOG 1-1
VOG 1-2
VOG 1-3
VOG 1-4
VOG 2-1
VOG 2-2
VOG 2-3
VOG 2-4
AcceptanceRate 1-1
AcceptanceRate 1-2
AcceptanceRate 1-3
AcceptanceRate 1-4
AcceptanceRate 2-1
AcceptanceRate 2-2
AcceptanceRate 2-3
AcceptanceRate 2-4
AGC 1-1 AB
AGC 1-1 BA
AGC 1-2 AB
AGC 1-2 BA
AGC 1-3 AB
AGC 1-3 BA
AGC 1-4 AB
AGC 1-4 BA
AGC 2-1 AB
AGC 2-1 BA
AGC 2-2 AB
AGC 2-2 BA
AGC 2-3 AB
AGC 2-3 BA
AGC 2-4 AB
AGC 2-4 BA
PathStatus 1-1
PathStatus 1-2
PathStatus 1-3
PathStatus 1-4
PathStatus 2-1
PathStatus 2-2
PathStatus 2-3
PathStatus 2-4
SNR 1-1 AB
SNR 1-1 BA
SNR 1-2 AB
SNR 1-2 BA
SNR 1-3 AB
SNR 1-3 BA
SNR 1-4 AB
SNR 1-4 BA
SNR 2-1 AB
SNR 2-1 BA
SNR 2-2 AB
SNR 2-2 BA
SNR 2-3 AB
SNR 2-3 BA
SNR 2-4 AB
SNR 2-4 BA

## Type
Number | Name
0 | NotSet
1 | Flowmeter
2 | Density
3 | Viscosity
4 | StaticPressure
5 | DifferentialPressure
6 | AtmosphericPressure
7 | Humidity
8 | Temperature
9 | AmbientTemperature
10 | TimerCounter
11 | Timer
12 | Counter
13 | Mass
14 | SpecificGravity
15 | Electrical
16 | Material
17 | General
18 | Gravimetric
19 | Volumetric

## FlowDeviceType
Number | Name
0 | NotSet
1 | Pulse
2 | FrequencyPulseTime
3 | FrequencyPeriod
4 | FrequencyMeasured
5 | Current
6 | Voltage
7 | Flowrate
8 | Manual
9 | General
10 | Orifice1997
11 | Orifice2003
12 | Nozzle
13 | SonicNozzle
14 | Venturi
15 | ChokeReliefValve
16 | VariableArea
17 | Cone

## FlowDeviceCategory
Number | Name
0 | NotSet
1 | Turbine
2 | PositiveDisplacement
3 | Vortex
4 | Electromagnetic
5 | Ultrasonic
6 | Coriolis
7 | Mass
8 | OrificePlate
9 | Nozzle
10 | Venturi
11 | Cone
12 | DifferentialPressure
13 | Valve
14 | Thermal
15 | Miscellaneous
16 | Prover

## QualityGrade
Number | Name
0 | QualityCritical
1 | CalibrateBeforeUse
2 | IndicationOnly
3 | Other

## SignalType
Number | Name
0 | Pulses
1 | Amps
2 | Volts
3 | Ohms
4 | Other

## Units
Number | Name
0 | NotSet
1 | Percent
2 | Pulses
3 | Hertz
4 | Millisecond
5 | Second
6 | Minute
7 | Hour
8 | Day
9 | Gram
10 | Kilogram
11 | Tonne
12 | Pound
13 | Millimeter
14 | Meter
15 | Kilometer
16 | Inch
17 | Foot
18 | Mile
19 | Millimeter2
20 | Meter2
21 | Inch2
22 | Foot2
23 | Centimeter3
24 | Meter3
25 | Inch3
26 | Foot3
27 | Millilitre
28 | Litre
29 | UkGallon
30 | UsGallon
31 | Barrel
32 | Pascal
33 | Kilopascal
34 | Megapascal
35 | Millibar
36 | Bar
37 | MillimeterWater
38 | MeterWater
39 | InchWater
40 | MillimeterMercury
41 | MeterMercury
42 | InchMercury
43 | Pound_Inch2
44 | Pound_Foot2
45 | PascalG
46 | KilopascalG
47 | MegapascalG
48 | MillibarG
49 | BarG
50 | MillimeterWaterG
51 | MeterWaterG
52 | InchWaterG
53 | MillimeterMercuryG
54 | MeterMercuryG
55 | InchMercuryG
56 | Pound_Inch2G
57 | Pound_Foot2G
58 | Inch2G
59 | Foot2G
60 | kg_l
61 | kg_m3
62 | lb_in3
63 | lb_ft3
64 | PascalSecond
65 | Centipoise
66 | Meter2_Second
67 | Centistoke
68 | Kelvin
69 | Celsius
70 | Fahrenheit
71 | Millivolt
72 | Volt
73 | Milliamp
74 | Amp
75 | Milliohm
76 | Ohm
77 | Joule
78 | Kilojoule
79 | Watt
80 | Kilowatt